**INDUS RIVER SYSTEM AUTHORITY**

**RFQ FOR CCTV CAMERAS**

**CORRIGENDUM**

 Indus River System Authority (IRSA) intends to purchase and installation of **CCTV IP Cameras** for the security of IRSA HQ building, Islamabad. Therefore sealed quotations are invited from Authorized dealers registered with General Sale Tax / Income Tax departments. The specification and quantity of equipments is as under: -

|  |  |  |
| --- | --- | --- |
| **S.No.** | **Specifications** | **Qty.** |
| 1 |  IP Bullet, 2MP, true day and night / IP66, IR distance 20m, 3.6mm, 1/3’’ CMOS (intrusion alarms)  | 10 |
| 2 | 3 Mega Pixel, Day and Night/IP66 CMOS (intrusion alarms) | 1 |
| 3 | PTZ Camera 36X | 1 |
| 4 | 16 Channel NVR | 1 |
| 5 | 24 port POE switch TP link or equivalent | 1 |
| 6 | 1KVA UPS with Battery | 1 |
| 7 |  LED 32” with 1 year Warranty | 2 |
| 8 | 2 TB 3.5 HDD for NVR 24/7 SATA | 1 |
| 9 | Complete Installation/Configuration | 1- job |
| 10 | CCTV cable installation with duct/flexible pipe (Approximately) | 1500 ft |

**TERMS & CONDITIONS:-**

|  |  |
| --- | --- |
|  | All the firms will have to submit the proof of General Sale Tax / Income Tax registration. |
|  | The sealed quotation with date of validity for three months should be addressed to the **“PURCHASE COMMITTEE” IRSA**  |
|  | Sealed bids completed in all aspects along with the details specification and 3% of total amount of bid as bid Security in the form of Bank draft / Pay order in favor of “IRSA Authority Fund” NBP main Branch, Islamabad, must reach to the undersigned up to **10:00** hours by **15.06.2016**. |
|  | Quotations will be opened in the presence of bidders within half an hour after deadline. |
|  | Government taxes prescribed rates must be included in the quotations.  |
|  | All term & condition must be specified clearly.  |
|  | Bid Security of unsuccessful bidder will be returned back & Bid Security to successful bidder will be refunded on deposit of Bank draft / Pay order of 10% of the tender amount as performance Guarantee. |
|  | The successful bidder will be responsible to deliver the items within two weeks of the issuance of Supply Order.  |
|  | The competent authority may reject all bids or proposals at any time prior to acceptance of a bid or proposal. |
|  | The competent Authority has the right to increase or decrease the quantity at any time |
|  | For detail term & condition please contact Mr. Masood Ahmed Saeed, Assistant Director (Admn), IRSA Telephone No. 051-9108017. |

**(Jahanzeb Khan Ghorezai)**

**Secretary**

**Indus River System Authority (IRSA)**

**35-Mauve Area, G-10/4, Islamabad.**

**Phone: 051-9108010**